NAME OF THE INSTITUTION

TECHNICAL DEPARTMENT

SECTION: ELECTRICAL AND ELECTRONICS

SCHEMES OF WORK

MODULE 1          FROM:…………………. TO:…………………  YEAR:……………………

SUBJECT:  TRADE PRACTICE            CLASS: CEE/DEE             LECTURER: ……………………………………….

| WEEK | LESSON | TOPIC/SUB-TOPICS | OBJECTIVES | CONTENTS/MAIN PTS/ACTIVITIES | REFERENCES | REMARKS |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | REPORTING AND REGISTRATION OF STUDENTS |  |  |  |  |
| 2 &3 |  | Final lighting circuits using all insulated(PVC SHEATHED) WIRING SYSTEM | The student should be able to; i. wire lighting circuits with several lighting points controlled by one switch ii. Wire lighting circuits with several independency controlled lighting points iii. wire two way and intermediate switching systems | -Parts of electrical circuit i. source of E.M.F II. control device iii. PATH iv. LOAD -Parallel circuits -protective device -cable current rating -Application of two way and intermediate switches | - IEE Regulations - Past exams papers - Projects |  |
| 4 |  | Final power circuits using all insulated (PVC SHEATHED) wiring systems | The student should be able to; i. Install a radial power circuit ii. install a ring power circuit iii. install cooker control unit and water heater | - Polarity test - Insulation test | - IEE Regulations - Past exams papers - Projects |  |
| 5&6 |  | Final lighting circuit using mini trunking wiring system | The student should be able to; i. Install and wire mini trunking for lighting circuit with several lighting points controlled from one switch ii. install and wire mini trunking for lighting circuits with several independently controlled lighting points iii. install and wire mini trunking wiring system for two way and intermediate switching system | - Space factor - Polarity test - Insulation Resistance Test | - IEE Regulations - Past exams papers - Projects |  |
| 7 |  | Final power circuits using mini trunking wiring system | The student should be able to; i. Install and wire mini trunking wiring system for radial circuit ii. install and wire mini trunking wiring system for ring circuit | Earth Continuity Conductor | - IEE Regulations - Past exams papers - Projects |  |
| 8 |  | Final power circuit using mini trunking wiring system | The student should be able to; i. Install and wire mini trunking wiring system for cooker control unit ii. install and wire mini trunking wiring system for water heater | - Bonding - ECC | - IEE Regulations - Past exams papers - Projects |  |
| 9&10 |  | Final lighting circuits using P.V.C conduit wiring system | The student should be able to; i. Install and wire P.V.C Conduit wiring system for lighting circuit with several lighting points controlled from one point ii. install and wire P.V.C Conduit wiring system for lighting circuit with several independently controlled lighting points iii. install and wire P.V.C Conduit wiring system for lighting circuits with two way and intermediate switches | - Polarity test - Insulation Resistance Test | - IEE Regulations - Past exams papers - Projects |  |

PREPARED BY; ………………….							APPROVED BY.........................

DATE....................			 			                                                   DATE................................................