NAME OF THE INSTITUTION

ELECTRICAL  DEPARTMENT

SCHEMES OF WORK

SUBJECT: SOLAR INSTALLATION SYSTEMS	DURATION:…………………      LEVEL:………..   PERIOD:……… CLASS…………..

| WK | LSN | TOPIC /SUB-TOPIC | OBJECTIVES | CONTENT /MAIN POINT /ACTIVITIES | REFERENCE | REMARKS |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  | Opening and Registration |  |  |  |  |
| 2 | 1 | Introduction to solar installation systems | By the end of the lesion the learner should be able to (a) Explain solar energy and its conversions | Solar conversion Heat Biomass Photosynthesis | Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 3 | 1 | Solar Terminologies | Define (a)Radiation (b)Direct and indirect radiation (c) Insolation | Note taking | Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 4 | 1 | Methods of solar harvesting | Discuss the solar harvesting methods | PV module parabolia reflection Bok reflection collection | Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 5 | 1 | Solar harvesting methods | Discuss the following harvesting methods Dish reflection Flat plate collections |  | Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 6 | 1 | CAT |  |  |  |  |
| 7 | 1 | Application of solar energy | Identify difference applications or solar energy Discuss the applications | Note talking | Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 8 | 1 | Solar crop driers | Discuss the working of direct and indirect solar crop driers | Note taking | Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 9 | 1 | Solar water heating | Discuss types of solar water heating | Note taking | Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 10-12 | REVISION AND END OF TERM EXAM |  |  |  |  |  |

NAME OF THE INSTITUTION

ELECTRICAL  DEPARTMENT

SCHEMES OF WORK

SUBJECT: SOLAR INSTALLATION SYSTEMS				  TERM 2      CLASS: ……………..

| Wk | LSN | TOPIC | LESSON-TOPIC | OBJECTIVES | TEACHERS ACTIVITIES | LEARNERS ACTIVITIES | TEACHING AIDS | REFERENCE | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | OPENING AND REPORTING OF THE NEW STUDENTS |  |  |  |  |  |  |  |
| 2 | 1 | Solar P.V. Systems | Solar PV systems | -By the end of the lesson, the learner should be able to:- -Define the solar system -Draw a solar cell -Describe the working of a solar cell - Identify parts of pv system | -Definition of solar system - Description of solar cell | -Note taking -Identifying parts of a solar system | Solar pv module | Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 3 | 1 | “ | Solar pv module | -By the end of the lesson, the learner should be able to:- -Define pv module -State types of pv module -Describe the types | -Stating types of pv modules -Describing the types | -Note taking -Attempting to dentify types of pv modules | -mono-crystalline -Polly-crystalline -Amorphous pv modules | Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 4 | 1 | “ | I-V Curve of a module | -By the end of the lesson, the learner should be able to:- -Define I-V curve & related terms -Draw I-V curve -Explain the I-V curve | -Defining I-V curve -Drawing I-V curve -Explaining the curve | -Note taking -Drawing I-V curve | LCD projection of I-V curve | Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 5 | 1 | “ | Effect of temperature & Irradiance on module performance | -By the end of the lesson, the learner should be able to:- -Explain the effect of temperature on pv module -Describe the effect of shade on pv module -Connect modules in series & parrallel | -Describe effect of temperature & irradiance on pv module -Assist learners in module connections | -Note taking -Attempt to explain the effect shade on pv module | -Pv module -multi meter -irradiance meter | - Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 6 | 1 | “ | Batteries | -By the end of the lesson, the learner should be able to:- -Identify types of batteries -Explain care and maintenance of solar battery -Describe cycle life and depth of discharge of battery -Connect batteries in series and parallel | -State types of batteries -explain battery maintenance - Assist learners in battery connections | -Note taking -Discuss battery maintenance -connect batteries in parallel & series | -sealed battery -flooded battery | Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 7 | 1 | “ | Charge controller | -By the end of the lesson, the learner should be able to:- -Define charge controller -Identify types of charge controllers -Explain the key parameters of charge controller | -stating types of charge controllers -Explain LVD, HVD, HVR, HVD | -Note taking -comparing charge controllers | Charge controllers | Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 8 |  | CAT | CAT | -By the end of the lesson, the learner should be able to:- - Attempt all the given questions -Answer at least 80% of questions correctly | -supervising learners as they do the CAT -Time announcements -Collection of written answer sheets | -attempting the questions given in the CAT | -Answer sheets -Question papers -Wall clock | Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 9 | 1 | “ | Inverters | -By the end of the lesson, the learner should be able to:- -Define an inverter -Identify types of inverters -Explain the function of inverters Draw block diagram of solar system | -Sketching waveforms - define an inverter - Identify types of inverters -Assist learners in drawing the block diagram of solar system | -Note taking -Drawing block diagram of solar system | Inverters | Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 10 | 1 | Solar System Accessories | Types of accessories | -By the end of the lesson, the learner should be able to:- -Identify different types of accessories -Describe the accessories | Assist learners in identifying and description of accessories | -Note taking -Discussion on types of accessories | -switches Lamp-olders -CCU | Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 11 & 12 | 1 | End term exam | End term exam | -By the end of the lesson, the learner should be able to:- --Attempt all the question given. -Answer at least 80% of questions correctly | -supervising learners as they answer the questions | -attempting the exam | -Answer sheets -Question papers | Past papers -class notes -Solar system for Africa by Mark Hankins -Solar home systems by Dr Akio Shiota |  |

PREPARED BY : ………………………..

DATE                : ……………………………..

NAME OF THE INSTITUTION

ELECTRICAL INSTALLATION

SCHEMES OF WORK TERM 3

CLASS: ………………………… FROM………………………………………….TO………………………………………………………….YEAR…………………………………………….

| WK | LSN | TOPIC |  | OBJECTIVE | MAIN POINTS ACTIVITIES | REFERENCE | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | OPENING AND REGISTRATION |  |  |  |  |  |
| 2 |  | Maintenance and servicing of solar system | Explain solar system Maintenance procedure |  | Note taking | Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 3 |  | Trouble shooting | Outline troubleshooting and repair procedures of a solar system |  | Note taking | Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 4 |  | Practice | install a sample solar system layout on installation bood |  | Exercise |  |  |
| 5 |  | solar system sizing | Define terminologies Explain needs for sizing |  |  | Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 6 |  | CAT |  |  |  |  |  |
| 7 |  | Sizing | Determine daily load energy demand size the equipment cables and accessories |  | Note taking assignment | Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 8 |  | Sizing | Size a typical solar System gives all the necessary data |  | Assignment | Aplications of solar energy by Himanshu Tyagi,Avinash Kumar Agarwal,Prodyut R. chakraborty,Satvasheel powar |  |
| 9 |  | REVISION |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |
| 11 |  | KNEC EXAM |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |